## VCE Constants
Vermont City Electric
Constants
The following constants are assumptions of the model. Population and per capita use growth estimates are both based on external forecasts and combine to determine the projected growth in energy use. The discount rate is the assumed cost of capital and is used to construct the "discount factors" for each year of the model. Annual wood and energy price growth are also assumptions. The current year at the time of the case is 2008.
Population Growth | 0.52%
Per Capita Use Growth | 0.22%
Discount rate | 7%
Annual wood price growth | 3%
Annual energy price growth | 4%
Current year | 2009
DSM Budget | 800000
Future year cash flows are less valuable than cash flows today. The relative value of future cash flows is determined by the discount rate, given above. The following chart summarizes the value of future cash flows, which are scaled by a "discount factor" such that their current values can be directly compared and added together.
Year | Discount Factor
2009 | 1
2010 | 0.93458
2011 | 0.87344
2012 | 0.8163
2013 | 0.7629
2014 | 0.71299
Electricity comes from a variety of energy sources, each with their own carbon intensity. While different technologies for producing electricity can affect the carbon intensity of an energy source, the averages are given here. In general, sources such as coal, oil, and natural gas are relatively carbon intensive, while sources such as wood, hydro-electric, and nuclear are relatively less intensive. "New England Market Mix" represents the mix of sources that compose the New England wholesale electricity market.
Carbon Emissions for Energy Source
Oil | 0.717 | tons CO2/MWh
Wood | 0.028 | tons CO2/MWh
Hydro | 0.022 | tons CO2/MWh
Wind | 0.018 | tons CO2/MWh
Coal | 1.102 | tons CO2/MWh
Nuclear | 0.006 | tons CO2/MWh
Natural Gas | 0.551 | tons CO2/MWh
NE Market Mix | 0.49069 | tons CO2/MWh
The following chart summarizes the distribution of power sources that compose the New England wholesale electricity market.
New England Market Mix
Oil | 24.4%
Wood | 8.4%
Hydro | 5.5%
Wind | 0%
Coal | 9.2%
Nuclear | 14.4%
Natural Gas | 38.1%
Total | 100%
The following chart summarizes the projected available power, costs, and carbon intensity of VCE's power sources for the years under consideration. The power sources are described in the case. Costs at the McNeil Plant are expected to grow at the rate of growth in the cost of wood. Cost of electricity from all other sources is expected to grow at the rate of energy prices.
|  | Available Power (MW) | Cost ($/MWh) |  |  |  |  | Carbon Emissions | Fuel Type
|  |  | Block 1 | Block 2 | Block 3 | Block 4 | Block 5 | (tons CO2/ MWh)
McNeil | 2009 | 26.5 | 50.9 | 50.9 | 50.9 | 50.9 | 50.9 | 0.028 | Wood
Contract |  | 14.9 | 60 | 60 | 60 | 60 | 60 | 0.022 | Hydro
VCE Wind |  | 0 | 0 | 0 | 0 | 0 | 0 | 0.018 | Wind
VCE GT |  | 18 | 150 | 150 | 150 | 150 | 150 | 0.717 | Oil
Market |  | 50 | 300 | 170 | 65 | 43 | 15 | 0.49069 | Mix
McNeil | 2010 | 26.5 | 52.427 | 52.427 | 52.427 | 52.427 | 52.427 | 0.028 | Wood
Contract |  | 14.9 | 62.4 | 62.4 | 62.4 | 62.4 | 62.4 | 0.022 | Hydro
VCE Wind |  | 0 | 0 | 0 | 0 | 0 | 0 | 0.018 | Wind
VCE GT |  | 18 | 156 | 156 | 156 | 156 | 156 | 0.717 | Oil
Market |  | 50 | 312 | 176.8 | 67.6 | 44.72 | 15.6 | 0.49069 | Mix
McNeil | 2011 | 26.5 | 53.9998 | 53.9998 | 53.9998 | 53.9998 | 53.9998 | 0.028 | Wood
Contract |  | 14.9 | 64.896 | 64.896 | 64.896 | 64.896 | 64.896 | 0.022 | Hydro
VCE Wind |  | 0 | 0 | 0 | 0 | 0 | 0 | 0.018 | Wind
VCE GT |  | 18 | 162.24 | 162.24 | 162.24 | 162.24 | 162.24 | 0.717 | Oil
Market |  | 50 | 324.48 | 183.872 | 70.304 | 46.5088 | 16.224 | 0.49069 | Mix
McNeil | 2012 | 26.5 | 55.6198 | 55.6198 | 55.6198 | 55.6198 | 55.6198 | 0.028 | Wood
Contract |  | 14.9 | 67.4918 | 67.4918 | 67.4918 | 67.4918 | 67.4918 | 0.022 | Hydro
VCE Wind |  | 5.2 | 76.8 | 76.8 | 76.8 | 76.8 | 76.8 | 0.018 | Wind
VCE GT |  | 18 | 168.7296 | 168.7296 | 168.7296 | 168.7296 | 168.7296 | 0.717 | Oil
Market |  | 50 | 337.4592 | 191.2269 | 73.1162 | 48.3692 | 16.873 | 0.49069 | Mix
McNeil | 2013 | 26.5 | 57.2884 | 57.2884 | 57.2884 | 57.2884 | 57.2884 | 0.028 | Wood
Contract |  | 14.9 | 70.1915 | 70.1915 | 70.1915 | 70.1915 | 70.1915 | 0.022 | Hydro
VCE Wind |  | 5.2 | 76.8 | 76.8 | 76.8 | 76.8 | 76.8 | 0.018 | Wind
VCE GT |  | 18 | 175.4788 | 175.4788 | 175.4788 | 175.4788 | 175.4788 | 0.717 | Oil
Market |  | 50 | 350.9576 | 198.876 | 76.0408 | 50.3039 | 17.5479 | 0.49069 | Mix
McNeil | 2014 | 26.5 | 59.0071 | 59.0071 | 59.0071 | 59.0071 | 59.0071 | 0.028 | Wood
Contract |  | 14.9 | 72.9992 | 72.9992 | 72.9992 | 72.9992 | 72.9992 | 0.022 | Hydro
VCE Wind |  | 5.2 | 76.8 | 76.8 | 76.8 | 76.8 | 76.8 | 0.018 | Wind
VCE GT |  | 18 | 182.4979 | 182.4979 | 182.4979 | 182.4979 | 182.4979 | 0.717 | Oil
Market |  | 50 | 364.9959 | 206.831 | 79.0824 | 52.3161 | 18.2498 | 0.49069 | Mix
The following chart summarizes the anticipated impacts of one year of demand-side management activities. The impact of these activities is expected to last for the six-year duration included in this model.
Demand-Side Management
MW Saved per Block
| Program | Cost | 1 | 2 | 3 | 4 | 5
| New business construction | 240480 | 0.2455 | 0.2284 | 0.2013 | 0.184 | 0.1638
| Business existing facilities | 353622 | 0.3127 | 0.2589 | 0.2134 | 0.1756 | 0.1432
| Residential new construction | 103852 | 0.0257 | 0.0184 | 0.0126 | 0.0104 | 0.0997
| Residential existing homes | 127170 | 0.0854 | 0.153 | 0.147 | 0.138 | 0.132
| Retail products | 88861 | 0.1281 | 0.1417 | 0.1385 | 0.1364 | 0.1373
| Commercial smartlight | 26205 | 0.0242 | 0.0163 | 0.0142 | 0.0124 | 0.0116
| Commercial Heating and Air Conditioning | 30165 | 0.016 | 0.018 | 0.02 | 0.022 | 0.024
| Commercial Outdoor Lighting | 18432 | 0.008 | 0.01 | 0.009 | 0.01 | 0.011
| LED Streetlight Program | 46240 | 0.032 | 0.028 | 0.024 | 0.026 | 0.032
| Total | 1035027 | 0.8776 | 0.8727 | 0.78 | 0.7148 | 0.7546
The following chart summarizes the projected demand for each block in each year under consideration, before demand-side management activities are accounted for. Demand is expected to grow at the same rate across all blocks, based on population and per capita income growth.
Demand without DSM
|  | Block | 1 | 2 | 3 | 4 | 5
|  | Duration (hours) | 365 | 830 | 4125 | 2960 | 480
|  | Year | Demand (MW)
|  | 2009 | 61.0178 | 50.1313 | 42.6628 | 33.3175 | 27.4694
|  | 2010 | 61.47 | 50.5028 | 42.9789 | 33.5644 | 27.6729
|  | 2011 | 61.9256 | 50.8771 | 43.2975 | 33.8132 | 27.878
|  | 2012 | 62.3846 | 51.2542 | 43.6184 | 34.0638 | 28.0847
|  | 2013 | 62.8469 | 51.6341 | 43.9417 | 34.3162 | 28.2928
|  | 2014 | 63.3127 | 52.0168 | 44.2673 | 34.5706 | 28.5025