## Slide 1
COURSE TITLE: FLUID MECHANICS SESSIONAL
COURSE NO. CE 2122
ZAHIDUL ISLAM
LECTURER
Dept. of Civil Engineering
RUET, Rajshahi-6204.
ONLINE CLASS

## Slide 2: FLOW OVER A V-NOTCH
  Theory
A V-notch weir is simply a ‘v notch’ in a plate that is placed so that it obstructs an open channel flow, causing the water to flow over the V-notch. It is used to meter flow of water in the channel, by measuring the head of water over the V-notch crest. The triangular weir or V-notch is preferable to the rectangular weir for the measurement of wide range of flow.

## Slide 3: FLOW OVER A V-NOTCH
Figure: V- Notch

## Slide 4: FLOW OVER A V-NOTCH
Types of notch
Rectangular notch.
Triangular notch.
Trapezoidal notch.
Stepped notch

## Slide 5: FLOW OVER A V-NOTCH
A triangular -notch shown in the figure.
Figure: . Flow over a V-Notch

## Slide 6: FLOW OVER A V-NOTCH

## Slide 7: FLOW OVER A V-NOTCH

## Slide 8: FLOW OVER A V-NOTCH

## Slide 9: FLOW OVER A V-NOTCH
  2. Objective
To find the value of Cd for the V-notch.
To plot Qt vs. Qa in a plain graph paper.
To plot Qa vs. H in a log-log paper and to find
(a) the exponent of H and
(b) the co-efficient of discharge, Cd

## Slide 10: FLOW OVER A V-NOTCH
  3. Apparatus
V-notch weir plate
Constant steady water supply
Channel
Flow rate measuring facility
Point gauge

## Slide 11: FLOW OVER A V-NOTCH
  4. Procedure
Place the notch plate at the end of the nappe with the sharp edge on the upstream side in a vertical plane.
Allow water to channel until the water discharges over the notch plate and close the flow control valve and allow water to stop flowing over weir.

## Slide 12: FLOW OVER A V-NOTCH
  4. Procedure
Allow water to the channel and adjust flow control valve to obtain head.
Measure and record head for each flow rate in the stabilize conditions.

## Slide 13: FLOW OVER A V-NOTCH
Figure: Typical Experimental Setup

## Slide 14: FLOW OVER A V-NOTCH
  5. Observation Sheet
Angle of the notch, =
K=
Cross-sectional area of the measuring tank =
Initial point gauge reading =
Final point gauge reading =

## Slide 15: FLOW OVER A V-NOTCH
  5. Table : For Calculating Discharge
No. of Obs. | Vol. of water | Collection time T | Actual discharge Qa | Effective head H | Theoretical discharge Qt | Co-eff. of discharge
Average |  |  |  |  |  | 

## Slide 16: FLOW OVER A V-NOTCH
  6. Results
  7. Discussion

## Slide 17: FLOW OVER A V-NOTCH
  8. Assignments
Why does the V notch give more accurate flow measurement?
Why CD of rectangular notch is less than triangular notch?

## Slide 18: FLOW OVER A V-NOTCH
Source:https://www.researchgate.net/publication/279848764_Discharge_Measurements_in_Open_Channels_using_Compound_Sharp-Crested_Weirs/figures

## Slide 19: FLOW OVER A V-NOTCH
Source:https://www.researchgate.net/publication/279848764_Discharge_Measurements_in_Open_Channels_using_Compound_Sharp-Crested_Weirs/figures

## Slide 20: FLOW OVER A V-NOTCH
No. of Obs. | Area of water (m2) | Vol. of water (m3) | Collection time T ( sec) | Actual discharge Qa ( | Effective head H | Theoretical discharge Qt | Co-eff. of discharge
1 | 0.13725 | 0.006863 | 18.0 | 0.000381 | 0.036000 | 0.000581 | 0.66
2 | 0.13725 | 0.006863 | 30.0 | 0.000229 | 0.029000 | 0.000338 | 0.68
3 | 0.13725 | 0.006863 | 36.0 | 0.000191 | 0.027000 | 0.000283 | 0.67
4 | 0.13725 | 0.006863 | 42.0 | 0.000163 | 0.026000 | 0.000258 | 0.63
5 | 0.13725 | 0.006863 | 53.0 | 0.000129 | 0.023000 | 0.000190 | 0.68
Average |  |  |  |  |  |  | 0.66

## Slide 21: FLOW OVER A V-NOTCH
Chart: Theoretical discharge Qt (m3/s)
| 5.809041530414463E-4 | 3.3833211544161758E-4 | 2.8298123645499861E-4 | 2.5750258868757043E-4 | 1.8952557351027832E-4
Actual discharge Qa (m3/s) | 0.00038125 | 0.00022875 | 0.00019063 | 0.00016339 | 0.00012948

## Slide 22: References
A Textbook of Fluid Mechanics and Hydraulic Machines
- By R.K. Bansal
2.https://www.rsisinternational.org/journals/ijrias/DigitalLibrary/Vol.4&Issue9/95-99.pdf
3. https://www.youtube.com/watch?v=brNnUz7pWhM&app=desktop

## Slide 23
ANY QUESTION?

## Slide 24
Stay Safe at Home